## Slide 1: جلسه ی عملی فشار خون
Dr. seyed amir tabatabaeizadeh
MD-PhD candidate in clinical nutrition
Mashhad medical school

## Slide 2: جلسه ی عملی
Hypertension —the Joint National Committee (JNC 7) based upon the average of two or more properly measured readings at each of two or more visits after an initial screen :
Normal blood pressure: systolic <120 mmHg and diastolic <80 mmHg
Prehypertension: systolic 120 to 139 mmHg or diastolic 80 to 89 mmHg

## Slide 3: جلسه ی عملی
Hypertension:
Stage 1: systolic 140 to 159 mmHg or diastolic 90 to 99 mmHg
Stage 2: systolic ≥160 or diastolic ≥100 mmHg

## Slide 4: DIAGNOSIS

## Slide 5: Screening
every two years for persons with systolic and diastolic pressures below 120 mmHg and 80 mmHg
yearly for persons with a systolic pressure of 120 to 139 mmHg or a diastolic pressure of 80 to 89 mmHg

## Slide 6: Measurement
In the absence of end-organ damage: diagnosis of mild hypertension until the blood pressure has been measured on at least three to six visits
spaced over a period of weeks to months

## Slide 7: White coat hypertension
Approximately 20 to 25 percent of patients with stage 1
Minimize effect:
seated after five minutes in a quiet, unobserved setting by an automated device that obtains five repeated blood pressure measurements at one to five minute intervals

## Slide 8: Posture
the patient should sit quietly with the back supported for five minutes and the arm supported at the level of the heart

## Slide 9: Technique
For the diagnosis of hypertension, take three readings at least one week apart
Take at least two readings on each visit, separated by as much time as possible; if readings vary by more than 5 mmHg, take additional reading until two consecutive readings are close

## Slide 10
Performance
Inflate the bladder quickly to 20 mmHg above the systolic pressure as estimated from loss of radial pulse
Deflate the bladder 3 mmHg per second
Record the Korotkoff phase V (disappearance) as the diastolic pressure except in children in whom use of phase IV (muffling) may be preferable
If the Korotkoff sounds are weak, have the patient raise the arm, open and close the hand five to ten times, and then inflate the bladder quickly

## Slide 11: جلسه ی عملی
روش گرفتن فشار خون
توضیح روش صحیح گرفتن فشار خون
تفسیر صحیح آن
هر دانشجو فشار خون سه نفر از دانشجویان دیگر را بگیرد.